{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":24,"n_cols":7,"rows_kept":24,"merged":[[0,0,0,6],[1,5,1,6]]}
["保山电力施甸分公司2024年6月1日至6月30日计划停电公告"]
[{"$nulls":5},"2024-05-20"]
["序号","变电站名称","停电线路","停电原因","计划停电时间","计划复电时间","停电影响区域"]
["1","110KV七0七变电站","10kV016选矿厂线","烤房群电源搭接","2024年06月22日8:30","2024年06月22日18:30","施甸仙华实业有限公司台变、施甸县新墙体建材有限公司、施甸县为繁农产品专业合作社、施甸县新凯建材有限公司"]
["2","110KV七0七变电站","10kV012长山线","烤房群电源搭接及避雷器安装","2024年06月22日8:30","2024年06月22日18:30","七0七社区\n平场子行政村\n\n"]
["3","110KV七0七变电站","10kV013小官市线","烤房群电源搭接、避雷器安装、真空断路器更换","2024年06月15日8:30","2024年06月15日18:30","九条沟行政村、平场子行政村、小官市行政村、兵斗行政村"]
["4","35kV老麦变电站","10kV071黄家线","加装避雷器、真空断路器、电烤炉专变引流线搭接","2024年06月29日8:30","2024年06月29日18:30","黄家行政村、太和行政村"]
["5","35kV华兴变电站","10kV029永福线坡脚支线","G8号杆真空断路器更换、电烤炉专变引流线搭接、浪坝台变安全隐患整改（变压器增容及电杆更换）\n","2024年06月24日8:30","2024年06月24日14:30","坡脚行政村"]
["6","35kV姚关变电站","10kV460大岭岗线","安装线路避雷器、更换变压器","2024年06月12 日 09:00","2024年06月12日  16：00","河尾行政村、摆马行政村、大岭行政村"]
["7","35kV酒房变电站","10kV083里强线","业扩新装烤烟炉群变压器、安装线路真空断路器、避雷器、校电杆","2024年06月12日  12:00","2024年06月12日  14:00","新田台变、河边台变、鸿福新村台变"]
["8","35kV酒房变电站","10kV087摆田线","安全隐患整改、龙潮新装智能烤烟炉群变压器和真空断路器"," 2024年06月28日  12:00"," 2024年06月28日  15:00","万兴行政村"]
["9","35kV姚关变电站","10kV451摆榔线碓房头支线","碓房头台变增容","2024年06月15日  14:00","2024年06月15日  16:00","碓房头台变"]
["10","35kV姚关变电站","10kV457大中线","里歪寨2号台变增容、业扩新装烤烟炉群变压器、安全隐患整改、鸡茨新农村台变增容、上黑箐台变增容、里格台变增容","2024年06月15日  09:00","2024年06月15日  18:00","摆榔行政村、鸡茨行政村"]
["11","35kV姚关变电站","10kV454山邑线牛汪塘支线","新寨新装智能烤烟炉群变压器、老鹰窝台变增容、大田脚台变增容和安装线路避雷器","2024年06月25日  09:00","2024年06月25日  18:00","万兴行政村、大水行政村、东安行政村、牛汪塘行政村、写寨行政村"]
["12","35kV旧城变电站","10kV041新街线老坝沃支线","农网改造","2024年06月22日  07:30","2024年06月27日  20:00（早停晚送）","新街行政村"]
["13","35kV旧城变电站","10kV041新街线","农网改造","2024年06月21日  07:30","2024年06月21日  20：00","大田坝行政村、新街行政村"]
["14","35kV旧城变电站","10kV049善洲林场线、10kV051芭蕉林线","安装真空断路器、线路通道清理","2024年06月24日  12:00","2024年06月24日 16：00","芭蕉林行政村、旧城行政村、芒别行政村"]
["15","35kV甸阳变电站","10kV422木老元线庄寨支线","农网升级改造工程","2024年6月12日\n08：00","2024年6月12日18:30:00","哈寨行政村、龙潭行政村"]
["16","35kV甸阳变电站","10kV422木老元线同邑支线","烤烟群高压业扩两个点，新增2台变压器，同邑烤烟群、乌木龙烤烟群","2024年6月25日8:00:00","2024年6月25日 \n12：00","同邑行政村"]
["17","35kV何元变电站","10kV095大仆寨线大仆寨支线","烤烟群高压业扩","2024年6月25日\n 9：00","2024年6月25日  \n18：00","何元行政村、大仆寨行政村"]
["18","110kv石鼓坡变电站","10kv051甸头线五福支线","烤烟群高压业扩","2024年6月20日13:00:00","2024年6月20日14:30:00","五福行政村"]
["19","110kv石鼓坡变电站","10kv056蒋家线白龙支线","烤烟群高压业扩","2024年6月28日 13:00:00","2024年6月28日14:30:00","新寨河西台变、新寨河东台变、白龙台变、王家寨1#台变、王家寨2#台变"]
["20","35kv甸阳变电站","10kV428张家线张家支线1#开关柜2#出线柜","高压业扩引流线搭接","2024年6月3日13:00:00","2024年6月3日14:30:00","张家行政村、大竹蓬行政村"]
["21","35kV仁和变电站","10kV167瓦房线","高压业扩引流线搭接","2024年6月20日 \n12：00","2024年6月20日\n14：00","瓦房行政村"]