{"text_format":"3","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":10,"n_cols":7,"rows_kept":10,"merged":[[0,0,0,6]]}
["保山电力龙陵分公司2024年9月1日至9月30日计划停电公告"]
[{"$nulls":6},"2024-08-23"]
["序号","变电站名称","停电线路","停电原因","计划停电时间","计划复电时间","停电影响区域"]
[1,"35kV龙新变电站","10kVL103龙新线","龙新街子3号变10kV线路架设及0.4kV线路拆除","2024年9月1日9:00","2024年9月1日14:00","龙陵县龙新乡豪庭大酒店专变、龙新乡政府变、龙新街子1变"]
[2,"35kV勐柳变电站","10kV赧等线A103","10kV A103赧等线N47B2至N47B26B13号杆隐患整改(耐张杆处110m线路更换、展放及搭火)","2024年9月7日8:00","2024年9月7日 14:00","弄岗村、晏家寨变、小蛮别变、龙陵县顺源烤烟合作社专变、蚌别变、马家田变、吊井园变、沙坝田变、梁河县聚鑫食用菌种植专业合作社"]
[3,"35kV腊勐变电站","35kV腊勐变电站10kVE018大垭口线","35kV腊勐变电站10kVE018大垭口线56A3号杆腊勐至镇安烤烟配套工程搭火","2024年9月15日14:00","2024年9月15日15:00","新和村、中岭岗村、长岭岗村、大垭口村、松山村、大湾子上社变、大湾子下社变、红树变"]
[4,"35kV龙新变电站","10kVL102勐冒线","与黄草坝变电站10kV058勐冒线回路牵手联络处安装真空断路器","2024年9月19日12:00","2024年9月19日14:00","大硝河村、勐冒社区"]
[5,"110kV黄草坝变电站","10kV058勐冒线","与龙新变电站10kVL102勐冒线回路牵手联络处安装真空断路器","2024年9月19日15:00","2024年9月19日17:00","中交第三公路工程局有限公司（回龙寨）、中交第三公路工程局有限公司（小松树）、中交第三公路工程局有限公司（搅拌站）、韩赛娟专变、小松树变、云南劦犇农业有限公司、龙陵县龙新乡买香猪养殖场"]
[6,"35kV平达变电站、110kV勐糯变电站","10kV195平安线、10kV423沟心寨线","回路牵手联络（10kV195平安线5A2号杆安装真空断路器、10kV423沟心寨线88A5A8A6号杆安装真空断路器）","2024年9月20日8:00","2024年9月20日12:30","小河村河边变、下小河变、小河水库专变、烟站1、2变，大把一寨烤烟房变、加油站专变"]
[7,"110kV勐糯变电站","10kV422街子线","回路牵手联络（10kV422街子线大田坝支线20A46号杆安装真空断路器）","2024年9月21日8:30","2024年9月21日12:30","蛮关河变、大田坝外伍寨变、大田坝大寨子变、拓鑫专变"]